## Список протоколов
Список доступных протоколов
Производитель | Протокол/Оборудование | Интерфейс | Требования | Версия
ABB | SPA Bus | Serial |  | Built-in
ADVANCED | AD-Net for communication with Mx series fire control panels | Serial |  | Built-in
ALSTOM | ESP | Serial |  | Built-in
ALSTOM | ESP Gemlan-T | Ethernet |  | Built-in
CEGELEC | SRTP for C80-75 & C80-35 | OPC Server | SW1000ETH
CEGELEC | SRTP for C80-75 & C80-35 | Ethernet |  | Built-in
ALSTOM | SNP-X for C80-75 & C80-35 | OPC Server | SW1000SER
ALSTOM | Time stamped Nbus | OPC Server | SW1000SER
BACnet - ASHRAE | BACnet/IP client - BTL certified Profile B-AWS | Ethernet |  | Built-in - Optional
BACnet - ASHRAE | BACnet/IP server - Profile B-ASC | Ethernet
BECKHOFF | TwinCat | Ethernet | TwinCat ADS | Built-in
CITILOG | Citilog | Ethernet |  | Built-in
COMMEND SA | Commend OPC Server | OPC Server
COMMEND SA | ICX | Ethernet |  | Built-in - Optional
DNP USER GROUP | DNP3 Master station | Ethernet |  | Built-in - Optional
ECHELON | LON | Manufacturer Board | LCA Object Server | Built-in
ECHELON | LON | Ethernet | NL220, LonMaker | Built-in
EIB | OPC EIB | OPC Server | EIBA Server
EMERSON | DeltaV (DCS) | OPC Server | DeltaV OPC Server
GB | DL/T645-2007 for Power meters | Serial |  | Built-in
GE FANUC | SRTP for 90-70 & 90-30 Series | Ethernet |  | Built-in
GE FANUC | SNP-X for 90-70 & 90-30 | OPC Server | SW1000SER
Generic | SQL driver |  | Provider ADO.Net | Built-in - Optional
Generic | Modbus RTU over IP | Ethernet |  | Built-in
HILSCHER | MPI for Siemens S7-300 & S7-400 via Ethernet | Hilsher | Netlink Adapter for MPI | Built-in - Optional
HITACHI | EX8000 - MLC 8000 system | Ethernet | NB : Ethernet TCP/IP Client & UDP Server | Built-in
HONEYWELL | HC9000 Ethernet | OPC Server | KEPServer
HONEYWELL | PLANTSCAPE/EXPERION (DCS) | OPC Server | Experion OPC Server | Built-in
HONEYWELL | UDC Ethernet | OPC Server | KEPServer
HONEYWELL | UDC Serial | OPC Server | KEPServer
IEC | IEC 60870-6 - ICCP/TASE.2 | Ethernet |  | Built-in - Optional
IEC | IEC 60870-5-101 Master | Ethernet |  | Built-in - Optional
IEC | IEC 60870-5-104 Master | Ethernet |  | Built-in - Optional
IEC | IEC 60870-5-104 Outstation | Ethernet |  | Built-in - Optional
IEC | IEC 61850 Client - DNV-GL certified | Ethernet |  | Built-in - Optional
JOHNSON CONTROLS | N2OPEN (Optomux) | OPC Server | NT9100 OPC Server
JOHNSON CONTROLS | Optomux N2 for DX9100 & DC9100 | Serial | DX & DC Series | Built-in
JUMO | Jumo Ascii | Serial |  | Built-in
JUMO | Jumo Jbus | Serial |  | Built-in
KERLINK | LoRaWAN gateways | Ethernet |  | Built-in - Optional
KNX Association | KNX | Ethernet |  | Built-in - Optional
LEGRAND / BTICINO | OpenWebNet | Ethernet |  | Built-in
LSIS | IP-XGT | Ethernet
MATRIX CONTROLS | PUP | Serial |  | Built-in
MATSUSHITA | Mewtocol-Com | Serial |  | Built-in
MATSUSHITA | Mewtocol-Com for FPX-LAN units and FP7 series | Ethernet |  | Built-in
MICROSOFT | DDE client |  |  | Built-in
MITSUBISHI | FX-Series | Serial |  | Built-in
MITSUBISHI | Melsec A-Series | Serial |  | Built-in
MITSUBISHI | Melsec TCP/IP for A and Q Series | Ethernet |  | Built-in
MTT | Rio for ME1000 | Ethernet | RioTcplib.dll Librairy - Please contact MTT
MOELLER | SucomA | OPC Server | SW1000SER
MOLEX | All supported protocols | OPC Server | For the complete list of supported protocols and availability visit <a href="http://www.molex.com" target="_blank">www.molex.com </a>(Network Interface Card)
MOXA | Moxa ioLogik - Support controllers in the E1200 & E2500 series | Ethernet |  | Built-in
NMEA | Generic GPS protocol - GPPPA,GPGLL,GPGSA,GPGSV,GPRMC,GPVTG | Serial |  | Built-in
OASIS | MQTT - Publisher | Ethernet |  | Built-in - Optional
OASIS | MQTT - Subscriber | Ethernet |  | Built-in - Optional
MULTITECH | LoRaWAN gateways | Ethernet |  | Built-in - Optional
NAPAQ | XFLOW (RIO), TBC | OPC Server | DevIO OPC Server
NATIONAL INSTRUMENT | Optomux for FieldPoint and Compact FieldPoint | OPC Server | OPC FIELD POINT SERVER
OCPP | Open Charge Point Protocol 1.6 and 2.0.1 for EV Charging stations | Ethernet |  | Built-in - Optional
ODVA | CIP | OPC Server | SW1000ETH
OMRON | All OMRON protocols | OPC Server | CX Server OPC
OMRON | FINS TCP Support communication with Omron FINS PLC over TCP | Ethernet |  | Built-in
OMRON | FINS TCP for OMRON C, CV and CS series | OPC Server | SW1000ETH
OMRON | SYSMAC-WAY | Serial |  | Built-in
OPC Foundation | OPC UA DA Server |  |  | Built-in - Optional
OPC Foundation | OPC UA DA Client |  |  | Built-in - Optional
OPC Foundation | OPC Classic DA client |  |  | Built-in
OPC Foundation | OPC Classic DA Server |  |  | Built-in
OPC Foundation | OPC-XML DA client |  |  | Built-in
PERAX | P200,P400,P16 | OPC Server | DevIO
PERAX | Perax | Serial | ARLEQUIN Concentrator | Built-in
PHOENIX CONTACT | InterBus S | OPC Server | InterBus OPC Server
QUADLOG | APACS M-BUS | OPC Server | APACS OPC Server
ROCKWELL AUTOMATION | All Allen Bradley protocols | OPC Server | RSLinx OEM
ROCKWELL AUTOMATION | DF1 peer to peer for SLC500 Serie only | Serial |  | Built-in
ROCKWELL AUTOMATION | EtherNet/IP for Logix5000 access (CompactLogix, ControlLogix,DriveLogix and FlexLogix controllers) | Ethernet |  | Built-in - Optional
SAIA BURGESS CONTROLS | Ether S-BUS | Ethernet |  | Built-in
SAIA BURGESS CONTROLS | S-BUS | Serial |  | Built-in
SAUTER | NovaNet | OPC Server | Sauter OPC Server + ActiveX TimeTable
SCHNEIDER ELECTRIC | Modbus ASCII /RTU Slave Time stamped Modbus | OPC Server | SW1000SER
SCHNEIDER ELECTRIC | Modbus Master ASCII / RTU Time stamped Modbus | Serial |  | Built-in
SCHNEIDER ELECTRIC | Open Modbus TCP/IP Master Time stamped Modbus | Ethernet |  | Built-in
SCHNEIDER ELECTRIC | Open Modbus TCP/IP Slave | Ethernet |  | Built-in
SCHNEIDER ELECTRIC | Ethway | OPC Server | Schneider OFS OPC Server (time stamped not supported)
SCHNEIDER ELECTRIC | Uni-TE TCP/IP | OPC Server | SW1000ETH
SCHNEIDER ELECTRIC | Uni-TE TCP/IP | OPC Server | Schneider OFS OPC Server
SCHNEIDER ELECTRIC | Unitelway Slave | Serial | Client Slave | Built-in
SCHNEIDER ELECTRIC | Unitelway Slave | OPC Server | SW1000SER
SCHNEIDER ELECTRIC | Unitelway Slave | OPC Server | Schneider OFS OPC Server
SIEMENS | 3964 / 3964R, K512 messaging via CP524 / 525 | Serial |  | Built-in
SIEMENS | AS511 for S5 serie programming port | OPC Server | SW1000SER
SIEMENS | Industrial Ethernet ISO on TCP for S5 and TI | OPC Server | SW1000ETH (H1 not supported)
SIEMENS | S7 Ip Industrial Ethernet for S7-200, S7-300, S7-400, S7-1200 and S7-1500 | Ethernet |  | Built-in
SIEMENS | S7 Ip Fetch/Write for S7-300 and S7-400 | Ethernet |  | Built-in
SIEMENS | MPI | Hilsher | Netlink (NL MPI, NT 40 MPI, NT50 MPI for ISO) | Built-in - Optional
SIEMENS | PPI | Ethernet | Siemens USB/RS Multi-Master cable
SIEMENS | Sinec H1 | OPC Server | Simatic Net or Matrikon
SIEMENS | TI-Direct for TI505 serie programming port | OPC Server | SW1000SER
SIEMENS Video | IP Camera with: CCIS1337-LP/CFVA-IP/CVVA-IP | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Video | SIMATRIX | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Video | SISTORE AX/CX/MX (NVS included)/MXpro/SX recorder (DVRs) | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Video | TELSCAN (Video Web Server) | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Access control | CerPass CC30 Controller (SiPass connection) | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Access control | SiPass | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Fire Detection | CC60 Gaz | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Fire Detection | CS11 AlgoRex | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Fire Detection | CS1115 | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Fire Detection | CZ10 | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Fire Detection | FS20 Sinteso/FS720 Cerberus PRO | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Fire Detection | STT11 CMSI | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Fire Detection | STT20 CMSI | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Fire Detection | STT2410 CMSI | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Intrusion detection | CS4 | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Intrusion detection | CS440 | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Intrusion detection | CS6 Guarto (NK822x configuration and connection) | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Intrusion detection | CZ12 | OPC Server | SIEMENS MK8000 OPC Server
SIEMENS Intrusion detection | SI410/420 | OPC Server | SIEMENS MK8000 OPC Server
IETF | SNMP Manager V1, V2C and V3 | Ethernet |  | Built-in - Optional
IETF | SNMP Agent | Ethernet |  | Built-in - Optional
SOFREL | S50, S500 | OPC Server | DevIO OPC Server
SOFREL | Sofbus-PC | Serial | CS100 Concentrator | Built-in
SOFREL | Sofbus-PL, Lacbus-RTU, SMS for S500,LS,Box,S50 | OPC Server | Softrel OPC Server
TBOX | Semaphore LT50, LP300, CLASSIC | OPC Server | DevIO OPC Server
TREND | IQ2, IQ3 | OPC Server | DevIO OPC Server
TYCO | IP POSM | Ethernet | POSM XPro Video System | Built-in
WAGO | DALI
WIT | TRS II | OPC Server | PC Pilot
WIT | TRS II for WIT Force, Clip, Easy, TwinY | OPC Server | DevIO OPC Server
YOKOGAWA | Ethernet TCP/IP for FA-M serie | Ethernet |  | Built-in
YOKOGAWA | STARDOM PLC | OPC Server | DAC OPC Server
MOLEX | APPLICOM card interface - ….
SIEMENS Fire Detection | CS11 AlgoRex | O | SIEMENS MK8000 OPC Server
SIEMENS Fire Detection | CS1115 | O | SIEMENS MK8000 OPC Server
SIEMENS Fire Detection | CZ10 | O | SIEMENS MK8000 OPC Server
SIEMENS Fire Detection | FS20 Sinteso/FS720 Cerberus PRO | O | SIEMENS MK8000 OPC Server
SIEMENS Fire Detection | STT11 CMSI | O | SIEMENS MK8000 OPC Server
SIEMENS Fire Detection | STT20 CMSI | O | SIEMENS MK8000 OPC Server
SIEMENS Fire Detection | STT2410 CMSI | O | SIEMENS MK8000 OPC Server
SIEMENS Intrusion detection | CS4 | O | SIEMENS MK8000 OPC Server
SIEMENS Intrusion detection | CS440 | O | SIEMENS MK8000 OPC Server
SIEMENS Intrusion detection | CS6 Guarto (NK822x configuration and connection) | O | SIEMENS MK8000 OPC Server
SIEMENS Intrusion detection | CZ12 | O | SIEMENS MK8000 OPC Server
SIEMENS Intrusion detection | SI410/420 | O | SIEMENS MK8000 OPC Server
SNMP | SNMP Manager V1, V2C and V3 | E |  | Built-in - Optional
SNMP | SNMP Agent | E |  | Built-in - Optional
SOFREL | S50, S500 | O | DevIO OPC Server
SOFREL | Sofbus-PC | S | CS100 Concentrator | Built-in
SOFREL | Sofbus-PL, Lacbus-RTU, SMS for S500,LS,Box,S50 | O | Softrel OPC Server
TBOX | Semaphore LT50, LP300, CLASSIC | O | DevIO OPC Server
TREND | IQ2, IQ3 | O | DevIO OPC Server
TYCO | IP POSM | E | POSM XPro Video System | Built-in
WAGO | DALI |  | Please refer to the Schneider entry
WIT | TRS II | O | PC Pilot
WIT | TRS II for WIT Force, Clip, Easy, TwinY | O | DevIO OPC Server
YOKOGAWA | Ethernet TCP/IP for FA-M serie | E |  | Built-in
YOKOGAWA | STARDOM PLC | O | DAC OPC Server